## Sheet1
Item Parameter Model | ES20480
Nominal voltage | 51.2V
Nominal capacity @ 25°C* | 400Ah
Configuration (*S*P) | 1S4P (51.2V 100Ah in 4 parallels)
80% DOD | 3000 cycles
70% DOD | 5000 cycles
50% DOD | 6000 cycles
Maximum continuous discharge current | 200A
Recommended continuous discharge current | ≤200A
End of discharge voltage | 40V
Operating temperature Discharge: | -20°C to +50°C, Charge: +5°C to +50°C
Storage temperature | -25°C to 45°C
Humidity (non-condensing) | Max. 95%
Protection class | IP 22
Charge voltage | 56V
Maximum charge current | 200A
Recommended charge current | ≤200A
Max storage time @ 25°C* | 3 year
BMS connection | Male + female cable with M8 circular connector, length 50cm
Dimensions (L*W* H) mm | 600*800*1200mm (Rack)
Weight | 30kg